Kennedy Space Center Seismo-acoustic network chronology

USF experiment: Notes
This history is far from complete – I need to go through all emails and TARs and any field sheet and field notes to reconstruct

Date	Event	Notes
2016/02/05	Field	Jetty Park. / Chris Mehta, Alex Farrell, Kathryn Dorn… / Also: Ellen Trainor, Richard and Ali Stamper
2016/02/24	Field	first KSC trip. Chris Mehta, Alex Farrell, Steve McNutt, Jacob Richardson, Lis Gallant / Chris, Alex and I, and possibly Steve, returned multiple times. Ultimately (on 2019/03/04?), Chris and Alex saw the launch up close. I only made it half-way along I-4 after class. / Note that discussions with Nanometrics began back here!
2016/02/29		Robert downloaded data. No working infrasound at FIRE.
2016/03/04	Field	I swapped BCHH HD1 from 295 (low gain) to 283 (normal gain). So HD2 went from 283 to 295
2016/03/05	Field	Robert downloaded data with Chris and Alex & powered off the stations. I did not make it. Alex says 3rd sensor at TANK was replaced with sensor at FIRE. No working infrasound at FIRE.
2016/03/07		Emailed Dean Clauter & John Dwyer and Robert Kemerait at USAF. Called Capt John McGowan – says he can share data with NASA easily. Number is 321-476-5620 – can we get data? Dean talks about working with FIT to do machine learning on infrasound data. Spoke with McGowan who suggested NASA be the nexus.
2016/3/5-18		Discussions with Nanometrics about cable design to reduce glitches and drift
2016/03/22	Field	Robert turned stations back on. I was across later and staying at Manatte Hammock campgrounds. Looks like Alex and Chris were trying to get badges, but I do not remember them camping, so they probably did not come.
2016/03/23	Field	I downloaded data. BCHH/CARL0 is at 2000 sps still so a 64 GB card added. 16 GB card added at TANK. Removed TANK.BD1 for testing. Infrasound not working at FIRE.
2016/3/24		Robert discusses a DARPA contact and a project to use data to classify launches
2016/4/5		Discussion with Robert about coming for the 2016/4/8 launch. Cancelled. Robert reports a good chat with Dean Clauter. Robert plans to talk more and get back to us.
2016/4/8	Field	Robert went to download data and only BCHH still working. FIRE was dead and would not reboot. TANK was full of ants, so he removed the enclosure.
2016/4/9		Began talking about permanent enclosure and cell modem with Robert
2016/4/27		Began discussing removing FIRE and TANK, adding aluminium conduit at BCHH.
2016/5/17	Field	Steve, Chris & Alex went in my absence.
2016/5/19		Steve reported that they re-levelled BCHH, new capillaries, installed conduit, swapped Centaur with upgraded firmware, picked up everything from FIRE, left seismometer and cable at TANK (lightning stopped work). Steve planned to set up station at his house. Reports he might go back with Jochen around 2016/5/26 to download data from BCHH and remove TANK. First discussion or Robert adding an LMA at The Claw
2016/5/20		Steve trying to get info about DARPA proposals & grounding. Robert talking again about developing a DAQ. Response on 5/23. Still no badge for Jochen
2016/5/26		Steve over with Jochen to pick up equipment at gate and see launch – but I guess launch delayed since Steve didn’t see one till 2019
2016/6/15		First discussion about space Grant proposal
2016/7/1		Robert downloaded launch data from 11, 15 and 24 June. THIS MIGHT CONTAIN MISSING LAUNCH ON 24 JUNE!!! Downloaded to Google Drive db directory under rockets
2016/8/22		Funding for Space Grant proposal
2016/09/01	Explosion	SpaceX Falcon9 expoded during static test
2016/9/6		First Robert said about getting me a long-term badge so I do not have to be with him in the field
2016/9/9	Field	Replaced 283, 295, 291 at BCHH with 224, 155, 311
2016/09/08	Field & Launch	OSIRIS-Rex. Bill Nye. Just me. Downloaded data from explosion of 2016/09/01. Got a 2 week badge, and year badge is in process. Chris and Josh saw the launch with Matt Pasek and I met them at El Leoncito afterwards
2016/9/10		I mentioned I am going to contact SpaceX about our data
2016/9/28	SpaceX & 5 year badge	Meeting with Jeff Overbeek. And first discussion with Robert about building infrasound cables. And I got my 5 year badge, and link to wind data. Talk about Steve’s 1 year badge.
2016/10/06	Robert Field	Robert removed BCHH as Hurricane Matthew approached. Cables and seismometer left. Array is 329 feet from the shoreline in Google Maps
2016/10/07	Hurricane Matthew	I also compiled a table of events so far, and it looks like Jun 15 and Jun 24 not recorded. But Robert had sent data for these, so will look. Photos of the aftermath were posted on Flickr on Oct 9
2016/10/10	Wind data	Discussion with Lisa Huddlestone through Nov 7
2016/10/12		Note that we finally can spend Space Grant money. But not SpaceX money yet.
2016/10/17		Robert sent googleearth coordinates. Also mentioned getting office space at KSC via Ray Lugo
2016/10/19		Lightning protection info from Nanometrics
2016/10/24		Discussion about building cables. Robert is only buying parts for a proof of concept. Then USF buy parts and build. Hoping to build 5 cables by Nov 16 for a huddle test (and 3 years later, still no cable!)
2016/11/1		Quote from mouser. Robert hopes to have a test cable built by 4 Nov. And getting Laura badged up for a GPS survey
2016/11/2	Field: GPS survey	GPS survey with Laura. And Robert mentioned that AFTAC gave permission to install our system and share data
2016/11/3		Map shows original and later infrasound locations
2016/11/8		Discussions about infrasound cable design with nanometrics and Jeff Johnson
2016/11/19		Robert sent info about infiltec. And we sent our SpaceX report to Robert. Robert mentioned he has weather stations and will put one near Beach House.
2016/11/22		I met Robert at Music department
2017/1/19	field	Alex, Chris, Josh and I.
2017/2/7		I shared a project plan by email. Approval for instrument inside Beach House
2017/2/13		Alex and Chris for launch. Think we visited BCHH to reinstall, and added original Rshake inside the Beach House. And saw John Glenn’s boogieboard? Might have installed DVEL too.
2017/2/16-17		Discussions to install LMA at The Claw
2017/3/10	Lawnmower	DVEL destroyed
2017/3/19		Discussions about funding for Alex, Chris, Cassandra
2017/4/18		Alex, Chris and I. Testing the DataQ
2017/8/1		AGU abstract submitted
Feb-Apr 2017		I think we tried to re-establish the Beach house site but in a different place, so let’s call it BCHHB. Might have been when we put the Raspberry Shake inside and saw the surf board. We also tried to establish DVEL, and also did huddle test at TANK and the 8-channel USB DAS.
2017/6/15
June 2017		Steve, Robert and I established permanent site at Beach House.
Aug 2017		I fully re-established permanent site right before SONICBat2017. I called these stations SON1 and SON2. Apparently forgot to remove old Trillium from BCHHB.
20170822 - 20170831	SonicBAT2017
20170911	Hurricane Irma
2017/9/18	Planning	First discussion about shooting seismic lines at KSC.
2017/09/22	Seismic survey	me, Sarah, Charlie, Chris, Brad, Ossie, Rauno, Tonian and Nicole
2017/10/13		Sarah questions for data interptetation
2017/11/21		Tried again to get a response from AFTAC. Nothing
2017/12/8		Planning to be over for a launch. Not sure if I made it as this was right before AGU
2018/1/30		SSA abstract
2018/5/11		More discussions about telemetry, permanent site at DVEL, and checking in on Sarah’s outstanding questions
2018/5/12		Asked Robert to check downrange trajectory estimates, but no reply
2018/6/4		Shared SSA poster. Robert wants to print it too

BCHH1 and BCHH2 configuration barely changed since SonicBAT2017.
BCHH1 - Trillium seismometer, 1 Chaparral & 1 infraBSU with 40 V full-scale. Centaur 383. HHZ/N/E, HD1*/2 (*Chaparral)
BCHH2 - 3 array infraBSU, and 3 infraBSU under the enclosure.
Total of 3 seismic and 8 infrasound components
Experiment shows should be able to store 411 (390) days on 64 GB at 100 sps according to BCHH1 (BCHH2). Or 164 (156) days at 250 sps.

During PASSCAL experiment: Key field notes
Date	Event	Notes

20180810	Field. Arrived BHP1 5pm, left 6.15pm.	BHP1 installed, digitizer 92B7/1007333, clock 1007910, sensor 225-L/1008590, oriented 20 E of true N. Next to BCHH1 seismometer. No solar panel. 12” to top of sensor. 13.0 V. 31.9 C.
2018/8/11		Updated Centaur in Robert’s lab, and downloaded 11 launches from SD cards. Discussion about need to publish
20181016	Field	This was with USF SOAR. Stephanie Bauman, Ryan Carlomany, Javian and Bernadette. I installed electronics for BHP2 & BHP3/4, but not buried. They helped deploy BHP5/6 and BHP7/8, but not oriented. BHP1 was dead – the big battery only lasted 13 days (20180810 – 20180823): removed to charge at home. Still no solar power.
20181017		12:15 am first launch captured on linear array. Buried BHP2, BHP3 and BHP4. No time to service BHP5, BHP6, BHP7 & BHP8. Still no solar power, so turned off all stations except BHP2 which I switched from 200 sps to 50 sps. / BCHH1 -3.6/4 V. Needs relevelling. / A relative amplitude analysis of this event : / BHP2: 1.00* (reference) / BHP3: 1.24*; BHP4: 1.16* / BHP5: 0.91; BHP6: 0.92 / BHP7: 0.88; BHP8: 0.87 / * not buried / BHP1 was dead. / Left at Robert’s lab: / Centaur 202 (“loaner”), Trillium 2392 (previously “lost”) + cable, infraBSUs 430, 453, 461
20181204	Must have added batteries ahead of rocket launch on dec 5th.	Must have visited again as BHP1, 3 and 4 were running on 20190203. Have data for 2018338 from 91F8/BHP2, 92B7/BHP1, 9338/BHP4, 9D7C/BHP3, 9406/BHP5 and AB13/BHP6. BHP2 was the only station left running on 20181017.
20190129	Shipping	PASSCAL sent new GPS clocks to be installed
20190203	Field. Left DaysInn at 0722, arrived Robert’s lab at 0747, departed 0815. Arrived BCHH1 at 0845.	* BCHH1 digitizer 383. Downloaded, dug up & relevelled trillium and buried in plastic bag. UpThe Trillium was relevelled on 9th (or 3rd) Feb, 2019dated firmware to 4.3.19. 13.7 V. 24” to top of sensor. 1.4 V/4.0 V level is okay. Trillium slightly north of previous location – marked. / * BCHH2 digitizer 384? Downloaded, replaced tote, updated firmware to 4.3.19. Sensor A: 292, 453*, 461* (*new today). Sensor B: Chaparral M25 071968, 302. / * BHP1 digitizer 92B7, 225-L. Disks full. 12.9 V, 23.0 C. 10 satellites. Serviced, replaced clock, dug up, Was 20 E of true N bagged & reburied, reoriented, upgraded with palette and rebar. Has bluetop marine 55Ah D34M battery. Old clock 1007910, new 1016470. Regulator 1012281. 12” to top of sensor. / * BHP5 digitizer 9406 / 966-L. Station was dead (11.3 V). Load disconnected in hope battery would recharge. Orientation was 60 E of true N. Replaced clock (was 2538/5005147, now ?), upgraded with palette & rebar. Regulator 1010669. 20” to top of sensor. / * BHP6 digitizer AB13. Station is dead (11.3 V). Was oriented 26 W of true N. 24” to top of sensor. Clock was 1488/5000878. Removed. / * BHP7 digitizer 98E6. Station was off (DAS disconnected) as no solar panel. 12.3 V. Replaced clock 1442 with 1015452, upgraded with palette and rebar. Regulator 1011767. Still need to add solar panel and rebury in a plastic bag. / * BHP8 digitizer 3267. Station was off as no solar panel. Removed. Was 10 W of true N. E side was high. Regulator 1012240. / * BHP4 digitizer 9338. Disks full, 12.7 V, 19.9 C, 5 satellites, replaced clock, 4181 with 1017043. upgrade with palette & rebar. Regulator 1012681. Orientation good. Service incomplete due to mosquitoes and darkness. / * BHP3 digitizer 9D7C. Disks full. Clock 4155, regulator 1010681. Removal incomplete due to mosquitoes and darkness. Orientation was good. / * BHP2 - ran out of time to service.
20190204	Field	* BHP2 digitizer 91F8. Disks full. 13.8 V, 24 C, 10 satellites. clock replaced 1844 with 1017266. / * BHP3 digitizer 9D7C. Disks full. Orientation & level good. Clock 4155, regulator 1010681. Plan was to remove. Incomplete due to mosquitoes & darkness. / * BHP4 digitizer 9338, 494-L. Disks < 1%. 13.4 V, 20.9 C, 5 satellites. Clock 1017043. Palette and rebar added. Oriented 45 W of true N, but this disagrees with notes yesterday. Level good. Service incomplete due to mosquitoes & darkness.
20190213	Field. Arrived 1318, 1514 & 1628.	* installed TANKP. Digitizer 9D7C. Previously occupied Feb-Apr 2016, a(nd during Falcon Heavy launch?). GPS to sensor 5 feet at 180 degrees. 13.1 V. 9” hole. Rocket_Seis experiment. True N. / * installed FIREP. Digitizer AB13. Previously occupied Feb-Apr 2016. Clock 1017053. GPS to sensor 5 feet at 210 degrees. 13.0 V. 12.4 C. 10.5” hole. Rocket_Seis experiment. True N. / * installed DVEL with infraBSU 412, 417, 436 (all 0.5"). Battery only 11.3 V. Initially tried regulator 53838 but it did not work, so used 53816. Trillium 2410. Oriented True N. 16” hole. Previous DVEL installations were in 2017 – destroyed by lawnmower – and Feb 2018 for the first Falcon Heavy launch.
20190315	Field: Delta IV launch with Karena Nyugen, Josh Boling, Stephen Hill & Brad Mack. 12Pm: badging station. Did not find Robert.	Power cables added at BHP5 and BHP7. / BCHH1: downloaded, SD card reinserted. / BCHH2: SD card swapped. infraBSU cables being eaten away inside plastic tote added in February. / BHP5: power cable added. battery only 10.5 V. Brad & Steve took regulator apart. / BHP7: power cable added / No PASSCAL sites downloaded. Need to revisit by 2019/04/04, assuming 30 days per CF card (60 days total).
2019/3/29	Interns	Attempt to set up internships for summer students began. Chose Ryan Carlomany and Amanda Prevatt. Jaime sat on it for 6 days, then another flurry of activity on 23-24 Apr, and a bit more till May 28. On July 8 Robert said possible for another semester. Full list in email of Apr 29
2019/04/10	Field with Mitch, Charlie, Michelle. Left condo at 0645 with Charlie (he got in last time, first visit in 6 months). 0915-0945 badging station. Beach House 1013 – 1210. Finished TANK at 1524.	Charlie Breithaupt, Michelle Saunders, Mitch Hastings. Mitch took GPS readings for all sensor locations. Note that I need to take back a battery for BHP5. BHP7 digitizer 98E6 would not boot / BHP4/9338: disks full, 13.5 V, 9 satellites / BHP2: disks full, 13.2 V, 10 satellites / BHP1/92B7: disks 85% & 100%. 13.1 V, 9 satellites. / BHP5: Dead battery, just 5-6 V. Bad regulator? Swapped 1011240 with new 1010669. Did not have spare battery. Hope it recharges (in field, I think). / BHP7: DAS not connected. Off. I suspect battery was weak last time & I left it unloaded to recharge. When reconnected, DAS would not complete bootup past “Disk in use, do not disturb”. Replaced DAS 98E6 with 9BC5. 13.6 V, / DVEL (Centaur): Dead lead acid battery - possible arcing at regulator due to fat wires. Swapped battery (Home to attempt recharge) with LiFePO4 (and changed regulator). 13.5 V. / FIRE/ AB13: (working) / TANK/9D7C: 11 satellites. / Did not download BCHH1/2, just checked lights on.
2019/04/29-30	Field Cancelled	Steve McNutt, Alex Farrell, Jennifer Sabo, Kathryn Dorn. Bring battery for BHP5. Deploy 3 infraBSU from tote into array of pre-drilled plastic buckets, download data, and huddle test Raspberry Shake instruments.
20190701	Field	Downloaded all stations apart from BHP2, BHP4. Combined BHP7 with BHP5. GPS and seismic cables were chewed through at BHP7. Power had failed at BHP5. So # digitizer from BHP7 is now at BHP5 (and regulator, solar cable, battery). / At DVEL, one infrasound cable had been cut by lawnmower.
20190716	Field with Jen. 1415-1720. (Stayed 1 or 2 more days).	Visited TANKP, BHP2, BHP4, BHP1, BHP5, BCHH1 & 2, FIREP / Data downloaded. Power good at all sites. Boxes were hot (up to 52.8 C) - need painting white. / TANKP/9D7C: Disks 0/50%. 13.5 V. 52.8 C. / BHP2/91F8: Disks full. 13.5 V. 49.5 C. / BHP4/9338: Disks full. 13.4 V, 41.9 C. / BHP1/92B7: Disks 0/50%. 13.4 V, 48.4 C. / BHP5/9406: Disks 50/0%. 13.5 V, 50.1 C. / FIREP/AB13: Disks 50/0%, 13.2 V, 50.2 C. GPS clock broken.
2019/8/8		Met with Robert, Chuck, John, Mel, Rocco and Hamid and Mitch about gravity UAV. Report sent Aug 14.
20190912	Field with Kathryn, Daniel, Amanda Prevatt and Cesil Alex	Reinstalled TANKP, FIREP, DVEL, BHP1, BHP2, BHP5 and BHP4. I think Robert had pulled equipment in as Category 5 hurricane Dorian hit around Sep 3 or 4. / TANKP – still off. Battery too weak. / BCHH1/2 disks swapped & data downloaded. / DVEL disk not swapped – disk big enough. / Now downloading all PASSCAL CF cards (probably at Robert’s lab).
20200131	Field. 1200 arrival at BCHH.	BCHH. Solar panel was disconnected! Battery dead (2.4 V). Mouse and ant nests inside enclosure (and a lizard). Station died 2019266 / 2019/09/23. Bucket containing Chaparral has broken lid. Reconnected panel. Moved Chaparral to new tote. Stole blue marine battery from BHP1. / BHP1/92B7. Alive. 12.9 V. Removed blue marine battery to restore BCHH. (finally removed electonics on 2020/09/18). So left station dead. / BHP5/9406. Regulator 1011767. 13.5 V. Had to reboot (at 1429 local) to get disk 1 to load after swapping. / BHP4/9338 restarted at 1452 local. / BHP2 restarted at 1505 local. / (local is 5 hours behind UTC).
20200527	Left house 0630, through downtown due to accidents. Robert’s lab at 0915-0930. Saw Trump/Pence motorcade at CCAFS. Steve showed up, he just got 5 year badge. I think I met him at diner.	BCHH2: 789 infrasound had fallen. NEMA box would not open – hacksawed a bolt. / BHP1 – no battery, cannibalized for BCHH in Feb2020. / BHP5 – disks swapped / BHP4 – disks swapped but it was running Bench rather than RocketSeis. How? / Could not reach BHP2 – thunderstorm. / Still need to visit FIRE & TANK (service) and DVEL (remove dead station).
20200917		TANK: 9D7C. Acquisition was OFF. On now. No data on disks. 13 V, 8 satellites. / FIRE: AB13. Disks full. 12.9 V. 5 satellites.
20200918		BCHH1/2: Dead battery. Removed everything from enclosure. / BHP2: 91f8: Disks full. 13.1 V, 8 satellites. Screwtop for CF cards broken. / BHP5: 9406: Disks full. 13.1 V. 10 satellites. Wifi did not work, serial cable did. / BHP1: battery was removed months ago for BCHH. Today, removed all equipment apart from L22. / BHP4: 9338: only 1 disk 35% full, other empty. 13.4 V. 10 satellites. Took disk with data, reformatted other and moved to disk 1.
20201210		BCHH1/2: neither recorded any data to SD card. / BCHH1 had dead clock and media not formatted. Internal disk has data. No GPS signal. Rebooted. Intermittent? / BCHH2 internal disk not recognized. Removed back to Tampa. / BHP4/9338: disk 1 only 33%. disk 2 not present. 13.2 V. 9 satellites. / BHP2/91f8: disks full. 13.1 V. 9 satellites. / BHP5/9406: water inside – how? Ants too. Running, but cannot connect by wifi or serial cable. 12.9 V. Turned it off. On DAS restart, regulator clicking fast red. Green when load removed. Left DAS off. Insufficient power? Remove? / FIRE: AB13: disks full. 13 V. / TANK: station dead. overgrown with creepers – only 12.0 V. removed vegetation, swapped battery & disks, reformatted, restarted.
20201211		Downloading data from BCHH Centaurs. Launches on Oct06, Oct18, Oct24, Nov5, Nov13, Nov16, Nov25, Dec6, Dec11.
20210206		Unloading PASSCAL equipment at CMC: last 4 stations: / FIRE – AB13 – 977-L/1003753 / TANK – 9D7C – 247-L/1015515 / BHP2 – 91F8 – 973-L/1003324 / BHP4 – 9338 – 494-L/1003733

net.sta.loc	latitude	longitude	ondate	offdate
FL.BCHH.00	28.574017	-80.572376	2016-02-24	2016-10-06
FL.FIRE.00	28.549746	-80.618641	2016-02-24	2016-05-01
FL.TANK.00	28.517301	-80.636491	2016-02-24	2016-05-01
FL.BCHH1.00	28.573477	-80.572377	2017-05-??	2019-02-03
FL.BCHH1.10	28.573494	-80.572381	2019-02-04	2100-01-01
FL.BCHH2.00	28.57????	-80.57????	2017-05-??	2100-01-01
AM.RS3D.00	28.573499	-80.572353	2018-??-??	201?-??-??
FL.DVEL4.00	28.578731	-80.607844	2017-05-??	2100-01-01
1R.BHP2.00	28.574257	-80.572877	2018-10-16	2100-01-01
1R.BHP3.00	28.573795	-80.572479	2018-10-16	2019-02-04
1R.BHP4.00	28.573800	-80.572463	2018-10-16	2019-02-04
1R.BHP5.00	28.573265	-80.572165	2018-10-16	2019-02-04
1R.BHP6.00	28.573281	-80.572152	2018-10-16	2019-02-05
1R.BHP7.00	28.572759	-80.572132	2018-10-16	2019-04-11
1R.BHP8.00	28.572783	-80.572114	2018-10-16	2019-02-05
1R.BHP1.00	28.573462	-80.572349	2018-08-10	2100-01-01
1R.BHP4.10	28.573804	-80.572452	2019-02-04	2100-01-01
1R.BHP5.10	28.573265	-80.572165	2019-02-04	2019-07-02
1R.BHP7.10	28.572759	-80.572132	2019-04-11	2019-07-03
1R.BHP5.20	28.573265	-80.572165	2019-07-02	2100-01-01
1R.FIREP.00	28.550034	-80.618477	2019-02-13	2100-01-01
1R.TANKP.00	28.516966	-80.636707	2019-02-13	2100-01-01

temporary network code 1R
Seismo Acoustic Study of Rocket Launches from Kennedy Space Center.
If the IRIS DMC will manage these data, please let Un Joe (un@iris.washington.edu) or
Rick Benson (rick@iris.washington.edu) know how your data will be arriving at the DMC.
The methods of data transmission we accept are miniseed2dmc, Real Time data, and in some case FTP.

OUTSTANDING ISSUES
(I am guessing list was made following 2019/07/16 visit)

FIELD:
* new GPS clock needed at FIREP
* repair infrasound cable at DVEL
* remove seismometer at BHP7
* layout infrasound array at BCHH2
* 1 data download needed between Sept 1 and Sept 12

LAB:
* backup the ~/Desktop/Glenn directory to newton
* repair GPS and seismic cables from BHP7
* process Mitch's GPS coordinates
* add correct network code from PASSCAL
* find any other records of fieldnotes to improve fieldnotes above
* add full station histories below from fieldnotes above to this parameter file
* further process the Reftek data by modifying bin/process_reftek_data.pl once this parameter file is fixed
* find any data that exists on any other computers, or in Google Drive, iDrive, Box or Dropbox, and merge with newton

Expressions of interest
2019/02/11 Jessica Mejia interested in non-glaciology experience for CV
2019/02/11 Faye Ricker happy to provide labor
2019/02/13 Mary Kate O’Donnell offered high speed cameras
2019/04/22 Meeting with Ryan Carlomany about NASA internship and undergraduate research opportunities, e.g. data analysis, building cables, interfacing infrasound sensors with Raspberry Jam, redesigning infrasound sensors.

Areas people could help out
(1) Installing and maintaining the seismo-acoustic network. Installation should be complete this week. Maintenance is mainly likely to be a long one day visit, once per month, to download data. There are service sheets we have to follow.
(2) Adding other equipment that will improve our understanding of launches. For example, images or videos from cameras, wind speed and direction from anemometers. I do not have such equipment.
(3) Designing and fabricating better enclosures for our seismic and infrasound equipment. The bar is very low. I currently use plastic totes and buckets!
(4) Building / soldering cables. If you are good at this, I could use your help.
(5) GPS surveying. I need to get precise locations for all my sensors deployed past and present.
(6) Routine data processing. I've written some codes to automate as much of this as possible, but there is still plenty of manual work to get data from SD cards and CF cards and convert it into modern formats, database it, and then share with IRIS PASSCAL.
(7) Data analysis. The dataset is growing and not much has been done yet! We have recorded over 35 launches so far. Beyond simple things like looking at the waveforms to identify wave types, and spectrograms, can we use signals to:
     - understand the seismo-acoustic wavefield of a rocket engine better, e.g. radiation pattern and amplitude-vs-distance decay
     - locate the moving rockets?
     - identify the type of rocket engine from the signals alone?
(8) Coding. I'm an experienced software developer. But if you are a computer scientist, you might be able to raise the bar in this area.
(9) Fix the broken seismo cable. See nanometrics email of 2019/04/23
(10) Build a new Chaparral M25 cable.
(11) Build a Reftek 130 to Trillium cable.
(12) Build 2 Reftek 130 to infraBSU array cables.
(13) Fix broken seismometer red connector.

What I can offer:
1. no funding to pay for salary (no grant currently).
2. I can cover accommodation if/when necessary.
3. training.
4. collaboration on future research, which might include co-authorship on conference presentations and scientific papers.
5. extra experience and perhaps skills to add to your CV, e.g. to get a job with a regional seismic network, or a volcano observatory, or to get into grad school (for undergrads).
6. For the right student, this might develop into a student research project (for research credits) or internship - possibly even an internship with NASA.

From: PASSCAL Scheduling <schedulingdb@passcal.nmt.edu>
Subject: Mob Form Submission for project Rocket Seis (201850)
Date: October 30, 2018 at 2:25:34 PM GMT
Cc: passcal-network-request@iris.washington.edu,engine_room@iris.washington.edu,tim@iris.washington.edu,bruce@passcal.nmt.edu,pcarpenter@passcal.nmt.edu,dthomas@passcal.nmt.edu,data_group@passcal.nmt.edu,thompsong@mail.usf.edu
Reply-To: thompsong@mail.usf.edu

Mob Form Submission for project:
Rocket Seis (201850)

Mobilization form submitted on:
2018-10-30 08:25:33 -06:00

Data Format:
PASSIVE (SEED)

Experiment/deployment Short Name:
Rocket Seis

Experiment/deployment Long Name:
Seismo Acoustic Study of Rocket Launches from Kennedy Space Center

PIC Experiment/deployment Number:
201850

Min. Latitude (decimal degrees):
28.3838

Max. Latitude (decimal degrees):
28.6565

Min. Longitude (decimal degrees):
-80.7766

Max. Longitude (decimal degrees):
-80.5019

Submitting Contact Username:
thompsong@mail.usf.edu

Submitting Contact Email:
thompsong@mail.usf.edu

PI Name:
Glenn Thompson

PI Email:
thompsong@mail.usf.edu

PI Institution:
University of South Florida

Complete List of Project PIs:
thompsong@mail.usf.edu (Glenn Thompson, University of South Florida,
Principal Investigator (PI)) jbraunmiller@usf.edu (Jochen Braunmiller,
University of South Florida, Co-PI)

A brief description of the experiment:
Since February 2016 I have had a Trillium C-PH 120s and an array of infraBSU
sensors deployed at Kennedy Space Center (KSC) and I have recorded ~15 rocket
launches. The primary motivations have been (1) to test and our calibrate our
sensors, and (2) to train students in seismic field techniques as a component
of a time series analysis class that I teach. Soon I am planning to telemeter
our primary site, BCHH, to the USF seismic lab. Occasionally this network has
been augmented by up to 3 additional stations, and that has given us hints of
the more complex seismic-acoustic wavefield. For example, we find that the
amplitude of the rocket jet noise increases with radial distance from the
rocket. We are exploring techniques to determine the trajectory of rockets
based on amplitude-source location (a method I co-developed for locating
pyroclastic density currents and lahars), and the Doppler shift recorded. And
we are exploring if there are characteristic differences in the waveforms and
spectra of Falcon-9, Atlas-5 and Delta-IV rockets, which is hard to tease out
from a single station because the launch sites & distances are also
different. To be able to explore these questions better, we need a temporary
deployment of additional stations and a wider aperture network. The first
experiment would be to deploy all sensors at our primary site, the Astronaut
Beach House (station BCHH), to conduct a huddle test during a rocket launch.
The second experiment would be to deploy a linear array to understand better
the P, S and surface wave structure at Kennedy Space Center & verify the
amplitude-vs-distance decay law for seismic and acoustic waves. For this we
would likely use a static launch test (rocket engines ignite, but rocket
stays on the ground) rather than a launch. The third and primary experiment,
would be to deploy a 7-station network of L-22 short period seismometers and
RT130 dataloggers & leave this in place for at least 6 months to capture
several launches. The network would have an aperture of about 15 to 20-km.

Number of Stations:
8

Experiment Location (verbal description):
Kennedy Space Center

Anticipated Date of Experiment Mobilization:
2018-07-14

Anticipated Date of Experiment Demobilization:
2020-06-30

Anticipated start of routine shipments of data to the IRIS DMC via PASSCAL:
2018-11-05

Anticipated Total Volume:
400 GB

Are the Data Restricted:
No

If Restricted:
the following apply...

        Anticipated Release Date for Restricted Data:
        n/a

        Allowed users for Restricted Data:

        Open Station ID#:

Additional notes from PI:
Currently I only have stations deployed in a huddle test at one field site.
Within the next few weeks, I will deploy them in a network. When I do, I will
allocate new station names.

View the complete instrument request here:
https://www.passcal.nmt.edu/sdb/expt/201850